## data
GX pipeline variable | description | units | MRD location field | MRD name/label | calibration | dixon | proton | notes
scan_date | scan date | YYYY-MM-DD | ismrmrdHeader.studyInformation.studyDate | NA | x | x | x | Previous location was ismrmrdHeader.measurementInformation.scandate. Scandate is not a member of the ismrmrdHeader class in ismrmrd python package
subject_id | subject ID | string | ismrmrdHeader.subjectInformation.patientID | NA | x | x | x | If unavailable from raw data, you do not need to write the field
system_vendor | MRI system vendor (e.g. 'Siemens') | string | ismrmrdHeader.acquisitionSystemInformation.systemVendor | NA | x | x | x
institution | institution (e.g. 'University of Iowa') | string | ismrmrdHeader.acquisitionSystemInformation.institutionName | NA | x | x | x
field_strength | scanner field strength | Tesla | ismrmrdHeader.acquisitionSystemInformation.systemFieldStrength_T | NA | x | x | x
te90 | echo time | ms | ismrmrdHeader.sequenceParameters.TE | NA | x | x | x
tr_proton | time bewteen proton excitations | ms | ismrmrdHeader.sequenceParameters.TR[0] | NA |  |  | x
tr_gas | Calibration sequence: time between gas excitations. Dixon sequence: time from gas to dissolved excitation | ms | ismrmrdHeader.sequenceParameters.TR[0] | NA | x | x |  | Note that in interleaved sequences, this can be different from tr_dis
tr_dis | Calibration sequence: time between dissolved excitations. Dixon sequence: time from dissolved to gas excitation | ms | ismrmrdHeader.sequenceParameters.TR[1] | NA | x | x |  | Note that in interleaved sequences, this can be different from tr_gas
flip_angle_proton | proton flip angle | degrees | ismrmrdHeader.sequenceParameters.flipAngle_deg[0] | NA |  |  | x
flip_angle_gas | gas phase flip angle | degrees | ismrmrdHeader.sequenceParameters.flipAngle_deg[0] | NA | x | x
flip_angle_dis | dissolved phase flip angle | degrees | ismrmrdHeader.sequenceParameters.flipAngle_deg[1] | NA | x | x
ramp_time | ramp time | us | ismrmrdHeader.encoding[0].trajectoryDescription.userParameterLong | "ramp_time" |  | x | x | This is a user-defined variable that is not in userParameterLong by default. Each index, has a 'name' and 'value'. We previously specified location by index number, changed to specifying by variable name
sample_time | time between digitized samples (AKA dwell time) | us | AcquisitionHeader.sample_time_us |  | x | x | x | Previous location was ismrmrdHeader.encoding[0].trajectoryDescription.userParameterDouble[0]. Note that this parameter has a value for each FID acquisition.
xe_center_frequency | center frequency of 129Xe in the gas phase | Hz | ismrmrdHeader.userParameters.userParameterLong | "xe_center_frequency" | x | x |  | This is a user-defined variable that is not in userParameterLong by default. Previous location was ismrmrdHeader.encoding[0].trajectoryDescription.userParameterDouble[2]
xe_dissolved_offset_frequency | dissolved phase frequency minus center frequency | Hz | ismrmrdHeader.userParameters.userParameterLong | "xe_dissolved_offset_frequency" | x | x |  | This is a user-defined variable that is not in userParameterLong by default. Previous location was ismrmrdHeader.encoding[0].trajectoryDescription.userParameterDouble[3].
matrix_size_z |  | unitless integer | ismrmrdHeader.encoding[0].reconSpace.matrixSize.z | NA |  | x | x
orientation | orientation of reconsructed image | string ("coronal", "transverse", or "axial") | ismrmrdHeader.userParameters.userParameterString | "orientation" |  | x | x
fov[0] | field of view x dimension | mm | ismrmrdHeader.encoding[0].reconSpace.fieldOfView_mm.x | NA | x | x | x
fov[1] | field of view y dimension | mm | ismrmrdHeader.encoding[0].reconSpace.fieldOfView_mm.y | NA | x | x | x
fov[2] | field of view z dimension | mm | ismrmrdHeader.encoding[0].reconSpace.fieldOfView_mm.z | NA | x | x | x
traj_gas/traj_dis/traj_proton | k-space trajectory for gas, dissolved, or proton scan | array-like, from -0.5 to 0.5 k-max | Acquisition.traj | NA |  | x | x | Note that this parameter has a value for each FID acquisition
contrast_labels | denotes whether an FID acquisition corresponds to proton, Xe gas phase or Xe dissolved phase excitation | unitless integer | AcquisitionHeader.idx.contrast | proton = 0, gas = 1, dissolved = 2 | x | x | x | Note that this parameter has a value for each FID acquisition.
bonus_spectra_labels | denotes whether an FID acquisition is part of bonus spectra or not | unitless integer | AcquisitionHeader.measurement_uid | not bonus spectra acquisition = 0, bonus spectra acquisition = 1 | x | x |  | Note that this parameter has a value for each FID acquisition.
sequence |  | file name | extension | notes
proton |  | "subjectID_proton" | ".h5"
calibration |  | "subjectID_calibration" | ".h5"
Dixon |  | "subjectID_dixon" | ".h5"

## rev_history
REVISION | DATE | DESCRIPTION
1.0 | 2024-04-23 | Initial upload to XeCTC Git repository